  SEQ CHAPTER \h \r 1June 26, 2025
Dear Resident,

The Town of Bay Harbor Islands Water Department is required, under the 1996 Safe Drinking Water Act, to provide consumers with information regarding the quality of the potable water delivered to your home.
The Town of Bay Harbor Islands purchases 100% of its potable water from the Miami-Dade Water and Sewer Department (MDWASD). Water is supplied through a 30-inch transmission line routed from North Miami, across Causeway Island, and along Kane Concourse. This line continues east and supplies potable water to the Village of Bal Harbour, as well as the Towns of Indian Creek and Surfside.

Enclosed you will find the 2024 Water Quality Report from Miami-Dade County, which contains detailed facts, figures, and information regarding the County’s water system. Within the report, the following abbreviations are used:

· (ppb) = parts per billion

· (ppm) = parts per million

· (MCL) = Maximum Contaminant Level

Lead Information

The water supplied by MDWASD and the Town does not contain lead. However, lead may enter drinking water through the corrosion of household plumbing materials. Homes built before 1986 are more likely to have lead pipes, fixtures, or solder. If you are concerned about lead levels in your home, you may flush your tap for 30 to 60 seconds before using the water. This is only necessary if water has remained motionless in the supply line for six hours or more.

For additional guidance, the Town publishes a brochure entitled “Lead and Your Family’s Health,” which is enclosed for your reference.

Water Quality Testing

In compliance with Federal and State regulations, the Town of Bay Harbor Islands conducts:

· Monthly testing to monitor total coliform bacteria.

· Annual testing for Total Trihalomethanes (TTHMs) and Haloacetic Acids (HAA5).

· Lead and Copper testing every three years (next scheduled for 2024).

The Town’s 2024 testing results are provided below and supersede those in the County’s report:

	Contaminant and Unit of Measure
	Federal/State MCL
	Federal Goal
	Violations

Y-Yes

N-No
	Year
	Level Detected
	Sources

	Total Coliform Bacteria (positive samples from Jan to Mar)
	TT
	0
	N
	2024
	0
	Naturally present in the Environment

	Total Trihalomethanes (ppb)
	80 ppb
	80 ppb
	N
	2024
	51 ppb


	By Product Drinking Water disinfection

	Haloacetic Acids (ppb)
	60 ppb
	60 ppb
	N
	2024
	44  ppb
	By Product Drinking Water disinfection



Important Information
All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate health risk.
More information about contaminants and potential health effects is available from the Safe Drinking Water Hotline at 1-800-426-4791 or online at www.epa.gov/safewater/lead.


Both Miami-Dade County’s Report and the Town’s Report are available online at:
     www.bayharborislands-fl.gov
If you have questions about water safety, please use the contact numbers provided in Miami-Dade County’s 2024 Water Quality Report. For questions specific to Bay Harbor Islands, contact the Department of Public Works at 305-866-6241.

Sincerely,
Town of Bay Harbor Islands

Randy Stokes


Director of Public Works

